## Slide 1: Renewable Energy Potential (reV) Harnessing Geospatial Data to Solve Energy Challenges
Galen Maclaurin, Anthony Lopez, Nick Grue, Dylan Hettinger, Ricardo Oliveira
Geospatial Data Science

## Slide 2: Harnessing Geospatial Data to Solve Energy Challenges
The reV model is a platform for assessing renewable energy potential and its geospatial intersection with grid infrastructure and land use characteristics.

## Slide 3: Answer the Big Questions of Energy Planning
What are the land-use requirements and impacts of increasing penetrations of renewable energy?
What are the transmission and integration costs of renewable energy deployment?
How are wind and solar generation likely to perform at specific sites?
What are optimal designs for wind and solar generation at specific sites?
Notes: Coupling methodologies for maintaining spatiotemporal characteristics of variable renewable energy in spatially course capacity expansion and nodal-based production cost models

## Slide 4: Initial Motivation

## Slide 5: Need for Flexibility in Scope and Scale

## Slide 6: Model Coupling
Global
U.S.
Regional/
Balancing Area
Generator
Sub-hourly
Annual
Hourly
RPM
Regional integrated resource planning
Capacity Expansion Models
Production Cost /
Grid Simulation Models
System Models
SolarDS
Rooftop PV adoption
ReEDS
National policy, market,
technology analysis
SAM
Hourly plant output
IAMs
PLEXOS
Security-constrained unit commitment & economic dispatch
Seasonal/Diurnal
Geographic Scope
Temporal Scope
reV produces data for a diverse set of models, each with varying degrees of spatial and temporal requirements

## Slide 7: Principal modules of reV
reV lets you analyze renewable resources with techno-economic, regulatory, sociopolitical, and environmental factors

## Slide 8: Principal modules of reV: Generation
The generation module batches SAM across millions of resource pixels (locations), allowing for multiple system configurations
SAM modules currently supported:
pvwattsv5
windpower
Planned future support:
CSP
Currently supported resource datasets:
NSRDB (solar)
Wind Toolkit – CONUS
SUNY South Asia (solar)
Planned future support:
Wind Toolkit – Mexico
Wind Toolkit - Canada
AWS wind
(e.g., system size, inverter ratio, tilt, etc.)

## Slide 9: NREL Resource Data: The Americas
WIND Toolkit
  Temporal Range: 2007-2013
  Temporal Interval: 5-minute
  Spatial Resolution: nominal 2 km
  Spatial Extent: North America
www.nrel.gov/grid/wind-toolkit.html
National Solar Radiation Database (NSRDB)
  Temporal Range: 1998-2016
  Temporal Interval: 30-minute
  Spatial Resolution: nominal 4 km
  Spatial Extent: Western Hemisphere and India (*coarser resolutions)
nsrdb.nrel.gov

## Slide 10: Principal modules of reV: LCOE
The LCOE module batches SAM LCOE on generation for all locations, allowing for multiple system configurations
Currently support the fixed charge rate method (FCR)
Future support could include other financial models

## Slide 11: Principal modules of reV: Generation and LCOE
LCOE cents/kWh
Hourly generation / atmospheric conditions for each site
(have ability to go down to 5-minute in WTK or ½ hour in NSRDB)
Integration of the reV spatial database with SAM enables detailed site based assessment for different geographic extents
Notes: 1. reV + SAM
2. reV does LCOE
3. Should also have a slide that shows reV does Generation
4. reV does high res analysis across the nation – [SDG: I think this is covered in the Features section Scope/Scale slide.]

## Slide 12: Principal modules of reV: Technical Exclusion
The technical exclusion module provides a framework for limiting the developable land available for renewable energy technologies
Slices of land can be either fully excluded or partially excluded.

## Slide 13: Find Suitable Sites for Energy Development
Perform high-resolution site suitability analysis at local or national scales to assess potential for renewable energy deployment.
Assess many factors including:
  Levelized cost of energy
  Socio-environmental factors
  Socio-political factors
  Wildlife protection
  Land-use restrictions
  Proximity to critical infrastructure
  More.

## Slide 14: Exclusion Examples
  Slope > 3.0%
  Contiguous Area < 1.0 sq.km.
  Urban Areas
  Water and Wetlands
  BLM Areas of Critical Environmental Concern
  Forest Service Inventoried Roadless Areas
  National Parks
  Federally-Protected Lands
    Parks, Wilderness, National Monuments, etc…

## Slide 15: Exclusion / Inclusion Demo

## Slide 16
 | Baseline | Minimal Exclusions | Moderate Exclusions
Visualization |  |  | 
Exclusions | None | Protected Areas | Protected Areas Croplands
Nameplate Capacity (MW) | 1,044,606 | 978,424 | 899,919
Total Land Area (sq.km.) | 21,762 | 20,383 | 18,748
DC Generation (MWh/Yr) | 1,504,328,768 | 1,410,590,570 | 1,300,118,197

## Slide 17
 | High Exclusions | Strict Exclusions
Visualization |  | 
Exclusions | Protected Areas Croplands Slope > 5% | Protected Areas Croplands Slope > 5% Distance to Road > 5km
Nameplate Capacity (MW) | 762,872 | 503,754
Total Land Area (sq.km.) | 15,893 | 10,494
DC Generation (MWh/Yr) | 1,105,799,235 | 717,350,757

## Slide 18
 | Baseline | Strict Exclusions
Visualization |  | 
Exclusions | None | Protected Areas Croplands Slope > 5% Distance to Road > 5km
Nameplate Capacity (MW) | 1,044,606 | 503,754
Total Land Area (sq.km.) | 21,762 | 10,494
DC Generation (MWh/Yr) | 1,504,328,768 | 717,350,757
-540,852
-11,268
-786,978,011
Difference

## Slide 19: Principal modules of reV: Supply Curve Model
The supply curve models the transmission cost, energy cost and regional competition to estimate supply and cost

## Slide 20: Principal modules of reV: Supply Curve Model

## Slide 21: Principal modules of reV: Supply Curve Model

## Slide 22: Principal modules of reV: Supply Curve Model

## Slide 23: Principal modules of reV: Supply Curve Model

## Slide 24: Principal modules of reV: Supply Curve Model

## Slide 25: Principal modules of reV: Supply Curve Model

## Slide 26: Principal modules of reV: Supply Curve Model

## Slide 27: Principal modules of reV: Supply Curve Model

## Slide 28: Principal modules of reV: Supply Curve Model

## Slide 29: Principal modules of reV: Supply Curve Model

## Slide 30: Principal modules of reV: Supply Curve Model

## Slide 31: Principal modules of reV: Supply Curve Model

## Slide 32: Analysis
Resource points find all connections to grid within a certain distance
Costs of connection to that grid object taken into account
Build list of all possible connections of resource points to grid
Scan through list, making cheapest connections first
As grid objects reach maximum capacity, resource points forced to look for next cheapest connection
If no connections possible to grid, resource point connects to nearest BA Load Center. This signifies necessity to build more infrastructure to connect that resource point
All resource points retained in final dataset
Resulting dataset provides $/MW to connect that particular resource point

## Slide 33: Analysis

## Slide 34: Analysis

## Slide 35: Analysis

## Slide 36: Analysis

## Slide 37: Analysis
Notes: ----- Meeting Notes (7/24/15 09:55) -----
Transformer costs?

## Slide 38: Principal modules of reV: Representative Profiles
The representative profiles module selects a single profile from each resource class within each resource region
Methods currently available:
Meanoid
Future support:
Medianoid
Distribution-based approaches

## Slide 39: Principal modules of reV: Representative Profiles

## Slide 40: Principal modules of reV: Representative Profiles

## Slide 41: Principal modules of reV
reV lets you analyze renewable resources with techno-economic, regulatory, sociopolitical, and environmental factors
Summary Modules:
Exceedance probabilities
Visualization
Plotting/Summarize

## Slide 42: Thank You! For additional information on using reV to solve your energy challenges, contact Anthony Lopez Anthony.Lopez@NREL.gov or Galen Maclaurin Galen.Maclaurin@NREL.gov

## Slide 43: Extra Slides

## Slide 45
Wind-Wildlife Mitigation: Curtailment Scenarios
*High Scenario: Curtail generation when wind speed is below 6.9 m/s (red) or 5 m/s (green) from April through October

## Slide 46: Variable Power Density

## Slide 47: Assess Economic Potential and Model Capacity Expansion
Supply curves represent a blending of plant siting, interconnection cost, energy cost, energy value, and regional competition to provide a geographically discrete, national estimate of renewable energy supply and cost.
Notes: 1. reV merges all of the concepts together to create supply curves
2. reV evaluates grid connection costs
3. reV knows at very high spatial res where resources are and how much they cost

## Slide 48: Robust Data for Rich Analysis
½ Petabyte Solar and wind resource data
100s
of geospatial data layers
Notes: reV accesses more than ½ petabyte of spatiotemporal solar and wind resource data spanning North and Central America and South Asia.
  Solar: National Solar Radiation Database
  Wind: WIND Toolkit
reV accesses hundreds of geospatial layers collected and maintained in NREL’s geospatial database

## Slide 49: Software Platform: Extensible, Modular, Integrated
reV integrates NREL’s spatial analysis engines with the System Advisor Model (SAM), PLEXOS, and other tools to enable robust, spatially resolved generation and financial modeling.
Notes: reV, built in Python, is a complex, extensible, and modular framework developed on NREL’s flagship high performance computer, Peregrine.
reV provides critical data feeds for a diverse set of models, each with varying degrees of spatial and temporal requirements. reV outputs are tailored for specific model needs.
Progress is being made in increasing reV output interoperability between models given increased model integration

## Slide 50: Most Sophisticated Representation of Renewables
reV determines how best to characterize the supply and profile of resource when constrained to regional or nodal representation
Adjustable classification of resource provides additional resolution when required
Notes: reV get's very complicated in it's evaluation of regional generation potential. It has the most sophisticated representation of renewables than ANY OTHER model.
reV knows how to smartly couple CEM outputs to PCM inputs. BETTER than any other model.

## Slide 51: Framework Modules with Dependencies
Exceedance Probabilities